## Slide 1: MRC River Monitoring Technology Competition
Topic: Water Quality Monitoring System
Virbora NY, Socheata LEAVCHUM, Sokheang EANG
National Polytechnic Institute of Cambodia
Phnom Penh, Cambodia

## Slide 2: Table of Contents
Introduction
Methodology
Design and Implementation
  Hardware Design
  Software Design
Prototype Testing
Conclusion
Reference

## Slide 3: 1. Introduction
Water Quality Monitoring System could collect and send real-time telemetry data from any water source. Using different types of sensors, the system can monitor the following data, such as:
  Turbidity
  PH (Potential of Hydrogen)
  Dissolved Oxygen
  Water Temperature

## Slide 4: 2. Methodology
Design Concept
  A Solar Powered Monitoring System
  Send Data from Measurement to the Server in Real-Time
  Support Wired and Wireless Communication (Ethernet, GSM, LoRa)
  Automatic Data Backup
  Durable to Harsh Weather Conditions

## Slide 5: 2. Methodology
2.1 System Block Diagram

## Slide 6: 3. Design and Implementation
Hardware Design
3.1 PCB Hardware Design
(a) Main System Hardware
(b) Sub System Hardware

## Slide 7: 3. Design and Implementation
Hardware Design
3.2 Main Hardware Implementation
3
1
2
Power Board
Main Controller
Sub Controller
Notes: 1. Power Management Board

## Slide 8: 3. Design and Implementation
Software Design
3.3 Software Architecture Diagram
Software Architecture
·
Data Recovery When Losing
Communication
Data Backup
·
Wired and Wireless
·
GSM
·
LoRa
·
Ethernet
Communication
·
Dissolved Oxygen
·
PH
·
Turbidity
·
Temperature
Sensor Interface

## Slide 9: 4. Prototype Testing
4.1 Prototype Testing Video with UI Design

## Slide 10: 5. Conclusion
In conclusion, the system could collect data and display the value in real-time on the computer. However, some sensors take up to three minutes for each sampling, which could lead to some measurement delays.
Future Work Includes
  Solar Tracker
  Wireless Communication
  Automatic Data Backup System

## Slide 11: Reference
[1]. MRC. (2018). 2016 Lower Mekong Regional Water Quality Monitoring Report . Vientiane: MRC Secretariat.
https://doi.org/10.52107/mrc.ajg6r1
[2]. World Health Organization. (‎2017)‎. Water quality and health - review of turbidity: information for regulators and
water suppliers. World Health Organization. https://apps.who.int/iris/handle/10665/254631. License: CC BY-
NC-SA 3.0 IGO
[3]. “Dissolved oxygen (DO) | A monitor's Guide to Water Quality.” [Online]. Available:
https://datastream.org/en/guide/dissolved-oxygen. [Accessed: 28-Jan-2023].
[4]. “Data Portal,” MRC. [Online]. Available: https://portal.mrcmekong.org/time-series/dissolved-oxygen.
[Accessed: 28-Jan-2023].
[5]. MRC. (2021). Situation Report on Dry Season Hydrological Conditions in the Lower Mekong River Basin:
November 2020–May 2021. Vientiane: MRC Secretariat. https://doi.org/10.52107/mrc.qx5yo1
[6]. MRC. (2022). Mekong Low Flow and Drought Conditions in 2019–2021. Vientiane: MRCnSecretariat.
https://doi.org/10.52107/mrc.qx5yo7
[7]. MRC. (2021). Technical Guidelines on the Implementation of the Procedures for Water Quality . Vientiane: MRC
Secretariat. https://doi.org/10.52107/mrc.ay2l12

## Slide 12
សូមអរគុណ
Thank You
Faculty of Electronics
National Polytechnic Institute of Cambodia